## Test Definitions
Test Referenced | Entry Type | Mayo ID | Description | Reporting Description | Method | Collection Container | Temperature | Stability | Special Container | Specimen Volume | Unit of Measure | Specimen Requirements | Minimum Volume | Reject Due To | Reference Values | Days Performed | Report Available | CPT Units | CPT Code | LOINC® Code | LOINC® Attributes | Always Performed | Orderable Separately | Performing Location | Urine Preservative Collection Options | Forms | Necessary Information | Shipping Instructions | Additional Testing Requirements | Ordering Guidance
LOINC and CPT codes are provided by the performing laboratory.
B181C | Test | B181C | Phosphorylated Tau 181, Cerebrospinal Fluid | Phospho-Tau 181, CSF | Chemiluminescent Immunoassay | [6 empty] | Container/Tube: Sarstedt Aliquot Tube, 5 mL 62.504.040 Specimen Volume: 1 mL Collection Instructions: 1. Perform lumbar puncture and discard the first 1 to 2 mL of cerebrospinal fluid (CSF). 2. Collect CSF directly into one of the listed collection tubes Note: Polypropylene collection tubes must be used. Polystyrene collection tubes are not acceptable. 3. Inspect specimen for visible blood contamination: a. If bloody, centrifuge specimen and transfer supernatant to a new one of the listed collection tubes prior freezing and sending to laboratory. The supernatant, not the cellular material, is used for analysis. b. If specimen is clear, centrifugation is not necessary. 4. Freeze sample upright prior to placing in transport container. | 0.75 mL | Gross hemolysis Reject Thawing Cold OK; Warm reject Gross lipemia Reject Gross icterus Reject | < or =63 pg/mL | Tuesday | 1 to 9 days | 1 | 83520 |  |  |  |  | Rochester |  |  |  | Ship specimen frozen on dry ice.
B181C | Specimen | CSF | CSF |  |  |  | Frozen | 90 days
B181C | Result | B181C | Phospho-Tau 181, CSF | Phospho-Tau 181, CSF | Numeric | [5 empty] | pg/mL | [8 empty] | Not Provided

## Order Codes
Type | Code | Reporting Name | CPT Codes | Unit of Measure | Specimen Type | Specimen Requirements | Specimen Minimum Volume | Reference Values | Order Questions Needed | Results | Test Details
Test | B181C | Phospho-Tau 181, CSF |  |  | CSF, Frozen | Container/Tube: Sarstedt Aliquot Tube, 5 mL 62.504.040 Specimen Volume: 1 mL Collection Instructions: 1. Perform lumbar puncture and discard the first 1 to 2 mL of cerebrospinal fluid (CSF). 2. Collect CSF directly into one of the listed collection tubes Note: Polypropylene collection tubes must be used. Polystyrene collection tubes are not acceptable. 3. Inspect specimen for visible blood contamination: a. If bloody, centrifuge specimen and transfer supernatant to a new one of the listed collection tubes prior freezing and sending to laboratory. The supernatant, not the cellular material, is used for analysis. b. If specimen is clear, centrifugation is not necessary. 4. Freeze sample upright prior to placing in transport container. | 0.75 mL | < or =63 pg/mL |  | B181C

## Result Codes
Type | Code | Reporting Name | Unit of Measure | LOINC Code | LOINC Attributes
Result | B181C | Phospho-Tau 181, CSF | pg/mL | Not Provided

## Order Questions
Type | Type | Question Code | Reporting Name